## Sheet1
Valve Type | Size | Material | Price (USD)
Gate Valve | 2" | Carbon Steel | 150
Ball Valve | 3" | Stainless Steel | 200
Butterfly Valve | 4" | Ductile Iron | 250
Check Valve | 6" | Cast Iron | 300
Pressure Relief Valve | 8" | Brass | 400
Needle Valve | 1" | Stainless Steel | 120
Globe Valve | 5" | Bronze | 280
Plug Valve | 2" | PVC | 180
Solenoid Valve | 3" | Copper | 220
Diaphragm Valve | 4" | Rubber-Lined Steel | 260

## Sheet2
Pipe Type | Size | Material | Price per ft (USD)
Carbon Steel Pipe | 2" | Carbon Steel | 12
Carbon Steel Pipe | 3" | Carbon Steel | 18
Stainless Steel Pipe | 2" | Stainless Steel | 20
Stainless Steel Pipe | 3" | Stainless Steel | 25
HDPE Pipe | 2" | High-Density PE | 8
HDPE Pipe | 3" | High-Density PE | 10
PVC Pipe | 2" | Polyvinyl Chloride | 6
PVC Pipe | 3" | Polyvinyl Chloride | 9
Copper Pipe | 2" | Copper | 15
Copper Pipe | 3" | Copper | 22

## Sheet3
Job Type | Unit | Price (USD)
Welding per joint | Per joint | 50
Pipe Installation | Per foot | 100
Valve Installation | Per valve | 75
Coating Application | Per sq. ft | 120
Trenching | Per 10 ft | 500
Flange Fitting | Per flange | 90
Pressure Testing | Per pipeline | 150
Insulation Wrapping | Per 10 ft | 80
Pipeline Inspection | Per inspection | 130
Final Testing | Per pipeline | 200

## Sheet4
Equipment | Unit | Price (USD)
Excavator Rental | Per day | 200
Welding Machine | Per unit | 5000
Crane Rental | Per day | 500
Generator (10 kW) | Per unit | 3000
Air Compressor | Per unit | 1500
Pipe Bending Machine | Per unit | 2500
Drill Machine | Per unit | 700
Sandblasting Machine | Per unit | 1800
Concrete Mixer | Per unit | 2000
Safety Equipment | Per set | 1200

## Sheet5
Paint Type | Price per Gallon (USD)
Epoxy Coating | 45
Polyurethane Paint | 35
Industrial Paint | 30
Heat-resistant Paint | 50
Anti-corrosion Paint | 40
Marine-grade Paint | 55
Fireproof Coating | 60
Zinc Coating | 42
Bituminous Paint | 38
Chemical-resistant Paint | 48

## Sheet6
Surface Area (sq. ft.) | Paint Type | Gallons Required | Total Cost (USD)
100 | Epoxy Coating | 10 | 450
150 | Polyurethane Paint | 15 | 525
80 | Industrial Paint | 8 | 240
120 | Heat-resistant Paint | 12 | 600
200 | Anti-corrosion Paint | 20 | 800
180 | Marine-grade Paint | 18 | 990
140 | Fireproof Coating | 14 | 840
160 | Zinc Coating | 16 | 672
220 | Bituminous Paint | 22 | 836
250 | Chemical-resistant Paint | 25 | 1200